Oceanside Fire Requirements

Planning Division

TO:	Project Planning

FROM:	Anne Marie Bland

Plans Examiner

DATE:	August 12, 2020

SUBJECT:	D20-00011

3770 Mission

Increase in building size

Fire Department Conditions of Approval:

- Plans for addition to and expansion of existing fire sprinkler system must be submitted to the fire department for review.

- Demolition of building must comply with California Fire Code Chapter 33.

- Fire access roadways and fire hydrants may not be obstructed by building materials, equipment, etc. generated by building demolition or building addition.